SPECIFICATIONS FOR     TOP LED Model:    S-0003WF1W003-3Z01000

S-0003WF1W003-3Z01000 LED is encapsulated by silicone resin for the highest flux efficiency. It leads the solid-state lighting industry in brightness while providing a refow-solderable design that is optimized for ease of use and thermal management.

Features

- IR reflow process compatible

- Full range of drive currents up to 1000 mA

- Wide range of colors(White, Blue, Green, Yellow and Red)

- RoHS-compliant

- Long operating life

- More energy efficient than incandescent and most halogen lamps

- Low voltage DC operated

•	Super high luminance(>140lm/W)

Typical Applications

- Street Lighting

- Decorative   and   Entertainment   Lighting

- Indoor/Outdoor Commercial and Residential Architectural

- Parking Garage Lighting

- Solar Powered Lighting

-1/13-

1. OUTLINE DIMENSIONS AND MATERIALS

Package   Dimensions

.Φ5.45,

- Lens Color : Water Clear

- Emitting Color : Highest Flux WHITE

- Chip material : InGaN

♦	Package: Heat-Resistant Polymer
Encapsulating Resin: Silicone Resin (with Phosphor)

Lens Silicone Resin

♦	Electrodes : Ag plating   Copper Alloy

Notes:

- All dimensions are in millimeters.

- Tolerance is ±0.15mm unless otherwise noted.

-2/13-

2.SPECIFICATIONS

[1] Ifp Conditions : Pulse Width 10msec. and Duty 0.1

(2) Initial Electrical/Optical Characteristics

(Ta=25°C)

-3/13-

3.   BIN   CODE

Bin    code    form:    X1X2X3X4

(1)   X1:

Luminous Flux    ( I F = 3 5 0 [ m A ])

| X1 | Luminous Flux | Unit |
| --- | --- | --- |
| S | C<^ 85-95 | lm |
| T | 95-110 |  |
| U | 110-130 |  |
| V | 130-160 |  |

(2)  X2X3: Correlated Color Temperature   (I F = 3 5 0 [ m A ])

-4/13-

-5/13-

-6/13-

-7/13-

-8/13-

-9/13-

-10/13-

-11/13-

-12/13-